## Slide 1: Wastewater Treatment
Lab Design Project: Automation and Control of Wastewater Treatment Process
Daniel Takyi
Naz Faiz
Ufuoma Aya
ENEL 380: Automation and Control
Project Presentation (Spring/Summer 2019)
Instructor: Dr. Keegan Downie

## Slide 2: Introduction
Wastewater (sewage water) is water that has been utilized for domestic, commercial or industrial processes.
Can be treated for re-use by a wastewater treatment plant.
Large scale wastewater treatment processes require automation and control.

## Slide 3: Overview of the system

## Slide 4: Purpose of Wastewater Treatment
Enables the water to be re-used
Reduce ecological footprint
Consistent water supply
Proactive approach to meet future needs

## Slide 5: Purpose of the system
Make the process easy to control
Automate the process to a desired degree
Make the process more efficient
Enables control over water supply

## Slide 6: Overview of System Components
Pumps: Motors
Valves: Solenoids
Fan: Motors
Switches
Push Buttons

## Slide 7: Operability Requirements
Energy Requirements
Flood Protection
Reliability and Redundancy
Plant Capacity Rating
Health and Safety
Odour Control
Sludge and Scum Handling and Disposal
Plant Operators Safety Training

## Slide 8: Process/System Requirements
Preliminary Treatment: Screening and grit handling and disposal
Primary Treatment: Sludge and scum removal and disposal
Secondary Treatment: Biological waste handling and disposal
Tertiary Treatment: Chemical handling, storage and disposal
Other: Sampling and monitoring equipment and maintenance

## Slide 9: Constraints
Effluent Quality Control
Airborne contaminant emissions
Odour limits, measurement and control
Noise control
Energy Conservation

## Slide 10: Other Considerations
Geological Factors
Climactic Factors
Permafrost
Corrosion
Odour Control
Sludge and Scum Disposal

## Slide 11: CP1l-M30DT-A PLC
Omron Electronics CP1 Series
Programmable Logic Controller CPU Module
Built-in USB port, 30 points:
18-DC inputs/12-NPN (transistor sinking) outputs
150 I/O max capacity, 120-240/AC
Safety:
  Take fail-safe measures
  Maintain specified range of voltage

## Slide 12: System Component Selection
Relays for Motors: 782XDX2M4L-24D
Manufacturer: Schneider Electric
Contact Form: 4PDT
Coil Voltage: 24 VDC
Contact Current Rating: 10 A
1/3 hp = 120 VAC
Safety:
  Stay within voltage range and contact ratings

## Slide 13: System Component Selection
Motor: C158A
Brand: Marathon
Voltage Type: AC
Horsepower Rating: 1/3 hp
Voltage Rating: 115/230 VAC, suitable for 208 VAC at 60 Hz
Rotation: Electrically Reversible
Safety:
  Stay within the power rating of the motor.

## Slide 14: System Component Selection
2-way Solenoid for Valves: NS301YF02C3BE7
GC Valves water solenoid valve
2-port (2-way), 2-position, N.C.
Direct acting
303 stainless steel body
120/110 VAC, 10W, NSF/ANSI 61.

## Slide 15: System Component Selection
3-way Solenoids for Valves: 8300D009U 120/60
ASCO Series 300 3-way solenoid valve
3 way - 3/2 Universal
Direct acting
Brass body
120 VAC

## Slide 16: System Component Selection
Switches: ECP3102
NITRA 22mm pneumatic pushbutton
IP65
Plastic base, plastic bezel, black, operator only,
Operator: green, flush, 30mm, round, plastic.

## Slide 17: System Component Selection
Brand: IDEM ES-P-230001
Item: Emergency stop control station
Housing Material: Plastic
Operator type: 40mm mushroom
Operator Color and Action: Red, twist-to-release
Contact Type: (1) N.O./(2) N.C

## Slide 18: System Component Selection
Level Switches: Dwyer L6EPB-B-S-3-A
Service: Liquids compatible with wetted materials
Switch Type: SPDT snap switch
Electrical Rating: 5 A at 125/250 VAC (V~)
Weatherproof and explosion-proof body for demanding outdoor applications
Simple and dependable operation with no mechanical linkage

## Slide 19: P&ID Model

## Slide 20: PLC Wiring Model (Input)

## Slide 21: PLC Wiring Model (Output)

## Slide 22: Sewage Treatment PLC Symbols

## Slide 23: Sewage Treatment State Diagram

## Slide 24: Ladder Logic: Initialization

## Slide 25: Ladder Logic: Stop

## Slide 26: Ladder Logic: Preliminary

## Slide 27: Ladder Logic: Primary

## Slide 28: Ladder Logic: Secondary 1

## Slide 29: Ladder Logic: Secondary 2

## Slide 30: Ladder Logic: Tertiary

## Slide 31: Ladder Logic: Outputs

## Slide 32: Conclusions
Different Wastewater treatment plants use different processes to achieve different results.
Each plant requires customized automation and control.

## Slide 33: Recommendations/Comments
Redundancy: Parallel streams and parallel components
Consider future expansion/modifications by designing the automation and control system using a modular approach.

## Slide 34: References
https://www.automationdirect.com/adc/home/home
https://www.youtube.com/watch?v=W4uX2ZNQTfs
https://www.automationdirect.com/adc/shopping/catalog/water_(potable)_components/potable_water_solenoid_valves/stainless_steel_solenoid_valves/ns301yf02c3be7
https://www.asco.com/en-us/product/300/27012
https://www.automationdirect.com/adc/shopping/catalog/pneumatic_components/manual_air_valves/pneumatic_pushbutton_valves_and_operators/ecp3102

## Slide 35: QUESTIONS?

## Slide 36: THANK YOU